## Preparation Details
Preparation
Hanna Code | HI96788V-0 | Description | Phenol Reagent Vial
MR Code | MR128 | MR Description | Total Phenol 1000 mg\L Standard Solution
Preparation Date | 2025/05/14 | Preparation Hour | 18:35 | Preparation Week | 20/2025
FW Hanna Parameter | 1 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/05/15 | Storage STD | Refrigerator
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96788V-0 | Phenol Reagent Vial | CP-D32 | 1 | mg/L | 2 |  | 100 |  | 100 | DWA | 250 | 1 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR128 | Total Phenol 1000 mg\L Standard Solution | L | 1 | TPC1000/100ML | 100 % | 1000 | mg/L | Phenol | 1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .5 | .125 | .125 | 0 | 0 % | -
3 | 2.5 | .625 | .625 | 0 | 0 % | -
4 | 4.5 | 1.125 | 1.125 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/14/2025 6:37:42 PM | 0A | LRAD4026 | 2 | 0.5 | mg/L | 0.125 | 0.125 | Micropipette SARTORIUS 0.3ML | 77.52 mL | Monika |  | Micropipette SARTORIUS 0.3ML |  |  | 250 ML BRAND
2 | 5/14/2025 6:38:16 PM | 0A | LRAD4026 | 3 | 2.5 | mg/L | 0.625 | 0.625 | Micropipette SARTORIUS 1.0ML | 75.90 mL | Monika |  | Micropipette SARTORIUS 1.0ML |  |  | 250 ML BRAND
3 | 5/14/2025 6:38:44 PM | 0A | LRAD4026 | 4 | 4.5 | mg/L | 1.125 | 1.125 | Micropipette SARTORIUS 5ML | 74.78 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | 250 ML BRAND
Preparation Notes
Date | Type | Description | Operator