## Preparation Details
Preparation
Hanna Code | HI96789V-0 | Description | Nitrite in Seawater Reagent Vial
MR Code | MR102 | MR Description | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O
Preparation Date | 2025/10/21 | Preparation Hour | 08:31 | Preparation Week | 43/2025
FW Hanna Parameter | 45.98 | Measurement Unit | mg/L | STD Matrix | SW2 | STD Exp (days) | 1 | STD Exp (Date) | 2025/10/22 | Storage STD | Refrigerator
Note | Second lot | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96789V-0 | Nitrite in Seawater Reagent Vial | CP-D27 | 14.007 | µg/L | 0 |  | 41.71 | 10 | 41.71 | SW2 | 250 | 1 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O | L |  | 1198990500 | 100 % | 1000 | mg/L | NO2 | 45.98
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 100 | .821 | .821 | 0 | 0 % | -
3 | 350 | 2.872 | 2.872 | 0 | 0 % | -
4 | 500 | 4.103 | 4.103 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/21/2025 8:33:47 AM | 0B | HC32789399 | 2 | 100 | µg/L | 0.821 | 0.821 | Micropipette SARTORIUS 1ML | 48.68 | Monika |  | Micropipette SARTORIUS 1ML |  | VWR 250ML |  | 10/21/2025 | 1198990500 | 2026/05/02
2 | 10/21/2025 8:34:09 AM | 0B | HC32789399 | 3 | 350 | µg/L | 2.872 | 2.872 | Micropipette SARTORIUS 5ML | 45.81 | Monika |  | Micropipette SARTORIUS 5ML |  | VWR 250ML |  | 10/21/2025 | 1198990500 | 2026/05/02
3 | 10/21/2025 8:34:25 AM | 0B | HC32789399 | 4 | 500 | µg/L | 4.103 | 4.103 | Micropipette SARTORIUS 5ML | 41.71 | Monika |  | Micropipette SARTORIUS 5ML |  | VWR 250ML |  | 10/21/2025 | 1198990500 | 2026/05/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI96789V-0 | 4.171 mL | 2025/10/21 | 08:31 | 43/2025 | 2025/10/21 | 50 mL | 2025/10/26 | 0B | HC32789399 | 424.08 mL | Micropipette sartorius 5ml/Isolab 50ml
Preparation Notes
Date | Type | Description | Operator