## Preparation Details
Preparation
Hanna Code | HI96791V-0 | Description | Ammonia ISO LR Reagent Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/04/01 | Preparation Hour | 09:14 | Preparation Week | 14/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA pH 5-6 | STD Exp (days) | 1 | STD Exp (Date) | 2025/04/02 | Storage STD | Refrigerator
Note | DW A: 4.041pH | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96791V-0 | Ammonia ISO LR Reagent Vial | CP-D33 | 18 | mg/L | 3 |  | 74.71 | 16.667 | 74.71 | DWA pH 5-6 | 250 | 1 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | .04 | .167 | .167 | 0 | 0 % | -
2 | .5 | 2.083 | 2.083 | 0 | 0 % | -
3 | 1 | 4.167 | 4.167 | 0 | 0 % | -
4 | 1.8 | 7.5 | 7.5 | 0 | 0 % | -
5 | 2.25 | 9.375 | 9.375 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/1/2025 9:36:07 AM | 0A | HC31103212 | 1 | 0.04 | mg/L | 0.167 | 0.167 | Micrpipette | 97.83 | Monika |  | Micrpipette | SARTORIUS 0.3ML |  | VWR 250ML | 4/1/2025 | 1198120500 | 2025/12/02
2 | 4/1/2025 9:36:55 AM | 0A | HC31103212 | 2 | 0.5 | mg/L | 2.083 | 2.083 | Micrpipette | 95.75 | Monika |  | Micrpipette | SARTORIUS 5ML |  | VWR 250ML | 4/1/2025 | 1198120500 | 2025/12/02
3 | 4/1/2025 9:37:19 AM | 0A | HC31103212 | 3 | 1 | mg/L | 4.167 | 4.167 | Micrpipette | 91.58 | Monika |  | Micrpipette | SARTORIUS |  | VWR 250ML | 4/1/2025 | 1198120500 | 2025/12/02
4 | 4/1/2025 9:37:40 AM | 0A | HC31103212 | 4 | 1.8 | mg/L | 7.5 | 7.5 | Micrpipette | 84.08 | Monika |  | Micrpipette | SARTORIUS 10ML |  | VWR 250ML | 4/1/2025 | 1198120500 | 2025/12/02
5 | 4/1/2025 9:38:03 AM | 0A | HC31103212 | 5 | 2.25 | mg/L | 9.375 | 9.375 | Micrpipette | 74.71 | Monika |  | Micrpipette | SARTORIUS 10ML |  | VWR 250ML | 4/1/2025 | 1198120500 | 2025/12/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI96791V-0 | 4.483 mL | 2025/04/01 | 09:14 | 14/2025 | 2025/04/01 | 100 mL | 2025/04/11 | 0A | HC31103212 | 315.19 mL | HIRSCHMANN 100ML/Micropipette SARTORIUS 10ML
Preparation Notes
Date | Type | Description | Operator