## Preparation Details
Preparation
Hanna Code | HI96791V-0 | Description | Ammonia ISO LR Reagent Vial
MR Code | MR09 | MR Description
Preparation Date | 2025/09/16 | Preparation Hour | 13:49 | Preparation Week | 38/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA pH 5-6 | STD Exp (days) | 1 | STD Exp (Date) | 2025/09/17 | Storage STD | Refrigerator
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96791V-0 | Ammonia ISO LR Reagent Vial | CP-D33 | 18 | mg/L | 3 |  | 57.84 | 16.667 | 57.84 | DWA pH 5-6 | 250 | 1 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
4 | 1.8 | 7.5 | 7.5 | 0 | 0 % | -
5 | 2.25 | 9.375 | 9.375 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/16/2025 1:51:18 PM | 0B | HC31103212 | 4 | 1.8 | mg/L | 7.5 | 7.5 | MICROPIPETTE 10 ML | 67.21 | Monika |  | MICROPIPETTE 10 ML | SARTORIUS |  | VWR 250ML | 9/16/2025
2 | 9/16/2025 1:51:49 PM | 0B | HC31103212 | 5 | 2.25 | mg/L | 9.375 | 9.375 | Micropipette SARTORIUS 10ML | 57.84 | Monika |  | Micropipette SARTORIUS 10ML |  |  | VWR 250ML | 9/16/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI96791V-0 | 3.470 mL | 2025/09/16 | 09:09 | 38/2025 | 2025/09/16 | 100 mL | 2025/09/26 | 0B | HC31103212 | 364.02 mL | 6,0120ml/100ml DW A
Preparation Notes
Date | Type | Description | Operator