## Preparation Details
Preparation
Hanna Code | HI96792V-0 | Description | STD 15ppm NH4
Preparation Date | 2025/10/01 | Preparation Hour | 12:21 | Preparation Week | 40/2025
|  |  |  | STD Matrix | DW A | STD Exp (days) | 1 | STD Exp (Date) | 2025/10/02 | Storage STD | REFRIGERATOR
Note | DW A :4.2pH | Operator | Monika
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR09 | 15 | 1.5 | 1.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 10/1/2025 12:34:47 PM | 0B | HC31103212 | MR09 | 15 | mg/L | 1.5 | 1.5 | Micropipette SARTORIUS 5ML | 301.94 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | MBL 100ML | 1198120500 | 2025/12/02
Preparation Notes
Date | Type | Description | Operator