## Preparation Details
Preparation
Hanna Code | HI96792V-0 | Description
Preparation Date | 2025/02/03 | Preparation Hour | 15:51 | Preparation Week | 6/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 60 | STD Exp (Date) | 2025/04/04 | Storage STD | REFRIGERETOR
Note |  | Operator | Monika
STD Volume/Weight | 250
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR09 | 5 | 1.25 | 1.25 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/3/2025 3:54:25 PM | 0A | HC31103212 | MR09 | 5 | mg/L | 1.25 | 1.25 | Micropipette SARTORIUS 5ML | 373.23 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | ISO LAB 250ml | 1198120500 | 2025/12/02
Preparation Notes
Date | Type | Description | Operator