## Preparation Details
Preparation
Hanna Code | HI96792V-0 | Description | STD 1.42ppm NH4
Preparation Date | 2025/08/07 | Preparation Hour | 11:15 | Preparation Week | 32/2025
|  |  |  | STD Matrix | DWA+1 drop SULPHURIC | STD Exp (days) | 1 | STD Exp (Date) | 2025/08/08 | Storage STD | Refrigerator
Note | Microp.SARTORIUS 0.3ML/Bal 100ml Brand | Operator | Monika
STD Volume/Weight | 100
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR09 | 1.42 | .142 | .142 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 9/16/2025 12:36:50 PM | 0A | HC31103212 | MR09 | 1.42 | mg/L | 0.142 | 0.142 | sartorius 10 ml | 45.20 mL | Laura |  | sartorius 10 ml |  |  | VWR 100ML | 1198120500 | 2025/12/02
Preparation Notes
Date | Type | Description | Operator