## Preparation Details
Preparation
Hanna Code | HI96793-0 | Description | Chloride Reagent
MR Code | MR145 | MR Description
Preparation Date | 2025/12/08 | Preparation Hour | 13:54 | Preparation Week | 50/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 90 | STD Exp (Date) | 2026/03/08 | Storage STD | Refrigerator
Note |  | Operator | Salome
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96793-0 | Chloride Reagent | CP-B211 | 35.45 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 90 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR145 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 5 | .125 | .125 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/8/2025 1:55:28 PM | 0A | BCCN2614 | 1 | 5 | mg/L | 0.125 | 0.125 | MICROPIPETTE | 65.99 mL | Salome |  | MICROPIPETTE |  | - | VWR250ML
Preparation Notes
Date | Type | Description | Operator