## Preparation Details
Preparation
Hanna Code | HI96793V-0 | Description | Chloride LR Reagent Vial
MR Code | MR145 | MR Description | 10 000 mg/L Chloride in water standard for IC
Preparation Date | 2025/07/29 | Preparation Hour | 08:24 | Preparation Week | 31/2025
FW Hanna Parameter | 35.45 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 90 | STD Exp (Date) | 2025/10/27 | Storage STD | Refrigerator
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96793V-0 | Chloride LR Reagent Vial | CP-D35 | 35.45 | mg/L (ppm) | 1 |  | 100 |  | 100 | DWA | 250 | 90 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR145 | 10 000 mg/L Chloride in water standard for IC | L | 1.01 | 06740 | 100 % | 10000 | mg/L | Cl | 35.45
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 5 | .125 | .125 | 0 | 0 % | -
2 | 20 | .5 | .5 | 0 | 0 % | -
3 | 50 | 1.25 | 1.25 | 0 | 0 % | -
4 | 70 | 1.75 | 1.75 | 0 | 0 % | -
5 | 90 | 2.25 | 2.25 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/29/2025 9:02:55 AM | 0A | BCCN2614 | 2 | 20 | mg/L (ppm) | 0.5 | 0.5 | Micropipette SARTORIUS 1ML | 98.50 mL | Monika |  | Micropipette SARTORIUS 1ML |  |  | ISO LAB 250ML
2 | 7/29/2025 9:05:15 AM | 0A | BCCN2614 | 3 | 50 | mg/L (ppm) | 1.25 | 1.25 | Micropipette SARTORIUS 5ML | 97.25 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | TLOS.HR 250ML
3 | 7/29/2025 9:05:47 AM | 0A | BCCN2614 | 4 | 70 | mg/L (ppm) | 1.75 | 1.75 | Micropipette SARTORIUS 5ML | 95.50 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | TLOS.HR 250ML
4 | 7/29/2025 9:06:11 AM | 0A | BCCN2614 | 5 | 90 | mg/L (ppm) | 2.25 | 2.25 | Micropipette SARTORIUS 1ML | 93.25 mL | Monika |  | Micropipette SARTORIUS 1ML |  |  | TLOS.HR 250ML
5 | 7/29/2025 9:09:21 AM | 0A | BCCN2614 | 1 | 5 | mg/L (ppm) | 0.125 | 0.125 | Micropipette SARTORIUS 0.3ML | 93.13 mL | Monika |  | Micropipette SARTORIUS 0.3ML |  |  | TLOS.HR 250ML
Preparation Notes
Date | Type | Description | Operator