## Preparation Details
Preparation
Hanna Code | HI96794V-0 | Description | Chloride HR Reagent Vial
MR Code | MR145 | MR Description | 10 000 mg/L Chloride in water standard for IC
Preparation Date | 2025/12/09 | Preparation Hour | 08:49 | Preparation Week | 50/2025
FW Hanna Parameter | 35.45 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 90 | STD Exp (Date) | 2026/03/09 | Storage STD | Refrigerator
Note |  | Operator | Salome
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96794V-0 | Chloride HR Reagent Vial | CP-D35 | 35.45 | mg/L | 0 |  | 100 |  | 100 | DWA | 50 | 90 | Refrigerator
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR145 | 10 000 mg/L Chloride in water standard for IC | L | 1.01 | 06740 | 100 % | 10000 | mg/L | Cl | 35.45
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 90 | .45 | .45 | 0 | 0 % | -
2 | 200 | 1 | 1 | 0 | 0 % | -
3 | 500 | 2.5 | 2.5 | 0 | 0 % | -
4 | 700 | 3.5 | 3.5 | 0 | 0 % | -
5 | 900 | 4.5 | 4.5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/9/2025 8:50:19 AM | 0A | BCCN2614 | 1 | 90 | mg/L | 0.45 | 0.45 | MICROPIPETTE | 63.54 mL | Salome |  | MICROPIPETTE |  | - | VWR50ML
2 | 12/9/2025 8:50:39 AM | 0A | BCCN2614 | 2 | 200 | mg/L | 1 | 1 | MICROPIPETTE | 62.54 mL | Salome |  | MICROPIPETTE |  | - | VWR50ML
3 | 12/9/2025 8:51:03 AM | 0A | BCCN2614 | 3 | 500 | mg/L | 2.5 | 2.5 | MICROPIPETTE | 60.04 mL | Salome |  | MICROPIPETTE |  | - | VWR50ML
4 | 12/9/2025 8:52:03 AM | 0A | BCCN2614 | 4 | 700 | mg/L | 3.5 | 3.5 | MICROPIPETTE | 56.54 mL | Salome |  | MICROPIPETTE |  | - | VWR50ML
5 | 12/9/2025 8:52:21 AM | 0A | BCCN2614 | 5 | 900 | mg/L | 4.5 | 4.5 | MICROPIPETTE | 52.04 mL | Salome |  | MICROPIPETTE |  | - | VWR50ML
Preparation Notes
Date | Type | Description | Operator