## Preparation Details
Preparation
Hanna Code | MR111S | Description | ZMK 10.01
Preparation Date | 2025/12/10 | Preparation Hour | 16:14 | Preparation Week | 50/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2026/01/09 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.01 | 2.65 | 2.65 | 0 | 0 % | -
MR111S-II | 10.01 | 2.1 | 2.1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 12/10/2025 4:19:58 PM | 0V | S 01/24 | MR111S-I | 10.01 | pH | 2.65 | 2.65 | - | 4.44 g | Brigitta P |  | - |  | BAL 148CQC04 |  | ZMK-CRM-pH-1001 I-S
2 | 12/10/2025 4:20:23 PM | 0W | S 01/24 | MR111S-II | 10.01 | pH | 2.1 | 2.1 | - | 8.24 g | Brigitta P |  | - |  | BAL 148CQC04&BAL 142 |  | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator