## Preparation Details
Preparation
Hanna Code | Nist 7.416 pH | Description | Nist 7.416 pH
Preparation Date | 2025/10/20 | Preparation Hour | 14:11 | Preparation Week | 43/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 60 | STD Exp (Date) | 2025/12/19 | Storage STD | Room
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.416 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.416 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 10/20/2025 2:15:34 PM | 0O | 01/24 | MR117S-I | 7.416 | pH | 1.179 | 1.179 | SARTORIUS | 17.92 g | Brigitta P |  | SARTORIUS |  | BAL148CQC04 | ILASSCO | ZMK-CRM-pH-741 I-S | 2026/08/02
2 | 10/20/2025 2:15:58 PM | 0Q | 01/24 | MR117S-II | 7.416 | pH | 4.3 | 4.3 | SARTORIUS | 3.00 g | Brigitta P |  | SARTORIUS |  | BAL148CQC04 | ILASSCO | ZMK-CRM-pH-741 II-S | 2026/08/02
Preparation Notes
Date | Type | Description | Operator