## Preparation Details
Preparation
Hanna Code | SOL. REF. TIP B | Description | 12856 µS/cm
Preparation Date | 2025/12/09 | Preparation Hour | 12:36 | Preparation Week | 50/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2026/01/08 | Storage STD | ROOM
Note | Value read with MR115 : 12863 µS/cm | Operator | Gedeon
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 12856 | 7.437 | 7.437 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 12/9/2025 12:43:26 PM | 0J | 999C | MR06N | 12856 | µS/cm | 7.437 | 7.437 | - | 12.50 g | Gedeon |  | - |  | BAL148CQC04 | ILASSCO 1000 ml | 999 | 2035/06/03
Preparation Notes
Date | Type | Description | Operator