## Preparation Details
Preparation
Hanna Code | SOL. REF. TIP C | Description | NIST TIP C
Preparation Date | 2025/07/10 | Preparation Hour | 11:57 | Preparation Week | 28/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 180 | STD Exp (Date) | 2026/01/06 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 1405 | .744 | .744 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/10/2025 12:00:52 PM | 0I | 999c | MR06N | 1405 | mg/L | 0.744 | 0.744 |  | 28.52 g | Brigitta P |  |  |  | BAL 114 CQC 01 | VWR 1000 ML | 999
Preparation Notes
Date | Type | Description | Operator