## Preparation Details
Preparation
Hanna Code | STD-80000 mS/cm | Description
Preparation Date | 2025/01/09 | Preparation Hour | 14:07 | Preparation Week | 2/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 180 | STD Exp (Date) | 2025/07/08 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 80000 | 26.715 | 26.715 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/9/2025 2:09:53 PM | 0F | 999c | MR06N | 80000 | mg/L | 26.715 | 26.715 |  | 1.81 g | Brigita T |  |  |  | BALL114CQC01 | Iso lab 500 ml
Preparation Notes
Date | Type | Description | Operator