## Preparation Details
Preparation
Hanna Code | STD 1.409 MS/CM | Description
Preparation Date | 2025/06/24 | Preparation Hour | 15:36 | Preparation Week | 26/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 180 | STD Exp (Date) | 2025/12/21 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 1409 | .744 | .744 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/24/2025 3:38:42 PM | 0I | 999c | MR06N | 1409 | mg/L | 0.744 | 0.744 |  | 29.26 g | Brigitta P |  |  |  |  | LASSCO 1000ML | 999
Preparation Notes
Date | Type | Description | Operator