## Preparation Details
Preparation
Hanna Code | Solutie de referinta tip C | Description | NIST 1403
Preparation Date | 2025/11/28 | Preparation Hour | 08:02 | Preparation Week | 48/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/12/28 | Storage STD | ROOM
Note |  | Operator | Gedeon
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR06N | 1403 | .744 | .744 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 11/28/2025 8:07:28 AM | 0J | 999C | MR06N | 1403 | mg/L | 0.744 | 0.744 |  | 19.94 g | Gedeon |  |  |  | BAL148CQC04 | VWR BORO 3.3 | 999 | 2035/06/03
Preparation Notes
Date | Type | Description | Operator