## Preparation Details
Preparation
Hanna Code | ZMK- pH 12.46 | Description
Preparation Date | 2025/03/04 | Preparation Hour | 14:01 | Preparation Week | 10/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/04/03 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR141 | 12.46 | 5 | 5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 3/4/2025 2:07:08 PM | 0A | K55556211 | MR141 | 12.46 | mg/L | 5 | 5 |  | 20.00 g | Brigita T |  |  |  | BAL114CQC01 | BORO 1000 ml | 1.02111
Preparation Notes
Date | Type | Description | Operator