## Preparation Details
Preparation
Hanna Code | ZMK-1.678 pH | Description
Preparation Date | 2025/03/17 | Preparation Hour | 15:50 | Preparation Week | 12/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/04/16 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR118S | 1.678 | 12.61 | 12.61 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 3/17/2025 3:51:30 PM | 0D | 01/22 | MR118S | 1.678 | mg/L | 12.61 | 12.61 |  | 9.39 g | Brigita T |  |  |  | BALL114CQC01 | ISO LAB 1000 ML | ZMK-CRM-pH-168-S | 2023/08/06
Preparation Notes
Date | Type | Description | Operator