## Preparation Details
Preparation
Hanna Code | ZMK-1.678 pH | Description
Preparation Date | 2025/06/17 | Preparation Hour | 10:28 | Preparation Week | 25/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/07/17 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR118S | 0 | 12.61 | 12.61 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/17/2025 10:30:08 AM |  | 01/24 | MR118S | 0 | mg/L | 12.61 | 12.61 |  | 11.39 g | Brigita T | [5 empty] | ZMK-CRM-pH-168-S | 2025/02/27
2 | 6/17/2025 10:31:33 AM | 0S | 01/24 | MR118S | 0 | mg/L | 12.61 | 12.61 |  | 11.39 g | Brigita T | [5 empty] | ZMK-CRM-pH-168-S | 2025/02/27
Preparation Notes
Date | Type | Description | Operator