## Preparation Details
Preparation
Hanna Code | ZMK-10.014 pH | Description | STD ZMK-10.014 pH
Preparation Date | 2025/01/29 | Preparation Hour | 14:35 | Preparation Week | 5/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/28 | Storage STD | ROOM
Note | ZMK-10.014 pH | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.014 | 2.64 | 2.64 | 0 | 0 % | -
MR111S-II | 10.014 | 2.092 | 2.092 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/29/2025 2:37:17 PM | 0L | S 01/22 | MR111S-I | 10.014 | mg/L | 2.64 | 2.64 |  | 5.96 g | Brigitta P | [5 empty] | ZMK-CRM-pH-1001 I-S
2 | 1/29/2025 2:37:31 PM | 0R | S 01/22 | MR111S-II | 10.014 | mg/L | 2.092 | 2.092 |  | 22.91 g | Brigitta P | [5 empty] | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator