## Preparation Details
Preparation
Hanna Code | ZMK-10.014 pH | Description
Preparation Date | 2025/02/26 | Preparation Hour | 15:41 | Preparation Week | 9/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/28 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.014 | 2.64 | 2.64 | 0 | 0 % | -
MR111S-II | 10.014 | 2.092 | 2.092 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/26/2025 3:43:35 PM | 0M | S 01/22 | MR111S-I | 10.014 | mg/L | 2.64 | 2.64 |  | 22.36 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-1001 I-S
2 | 2/26/2025 3:44:01 PM | 0R | S 01/22 | MR111S-II | 10.014 | mg/L | 2.092 | 2.092 |  | 16.64 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator