## Preparation Details
Preparation
Hanna Code | ZMK-12.46 pH | Description
Preparation Date | 2025/04/01 | Preparation Hour | 10:43 | Preparation Week | 14/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/05/01 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR141 | 12.46 | 5 | 5 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 4/1/2025 10:47:52 AM | 0A | K55556211 | MR141 | 12.46 | mg/L | 5 | 5 |  | 15.00 g | Monika |  |  |  | BAL 114 CQC01 | VWR 1000ML | 1.02111
Preparation Notes
Date | Type | Description | Operator