## Preparation Details
Preparation
Hanna Code | ZMK-4.005 pH | Description
Preparation Date | 2025/02/26 | Preparation Hour | 15:37 | Preparation Week | 9/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/28 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR112S | 4.005 | 10.21 | 10.21 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/26/2025 3:39:19 PM | 0L | 01/24 | MR112S | 4.005 | mg/L | 10.21 | 10.21 |  | 14.79 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-401 S | 2026/12/18
Preparation Notes
Date | Type | Description | Operator