## Preparation Details
Preparation
Hanna Code | ZMK-7.41 pH | Description
Preparation Date | 2025/02/06 | Preparation Hour | 15:29 | Preparation Week | 6/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/08 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 2000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.41 | 2.358 | 2.358 | 0 | 0 % | -
MR117S-II | 7.41 | 8.6 | 8.6 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/6/2025 3:32:37 PM | 0U | S 01/22 | MR117S-I | 7.41 | mg/L | 2.358 | 2.358 |  | 15.86 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 2000 ML | ZMK-CRM-pH-741 I-S
2 | 2/6/2025 3:33:00 PM | 1B | S 01/22 | MR117S-II | 7.41 | mg/L | 8.6 | 3.8 |  | 0.00 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 2000 ML | ZMK-CRM-pH-741 II-S | 2025/05/23
3 | 2/6/2025 3:33:23 PM | 1J | S 01/22 | MR117S-II | 7.41 | mg/L | 4.8 | 4.8 |  | 2.98 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 2000 ML | ZMK-CRM-pH-741 II-S
Preparation Notes
Date | Type | Description | Operator