## Preparation Details
Preparation
Hanna Code | ZMK-7.414 pH | Description | ZMK-7.414 pH
Preparation Date | 2025/01/29 | Preparation Hour | 12:45 | Preparation Week | 5/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/28 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/29/2025 12:49:24 PM | 0U | S 01/22 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 |  | 18.22 g | Brigitta P |  |  |  |  | VWR 250 ML | ZMK-CRM-pH-741 I-S
2 | 1/29/2025 12:49:44 PM | 1J | S 01/22 | MR117S-II | 7.414 | mg/L | 4.3 | 4.3 |  | 7.78 g | Brigitta P |  |  |  |  | VWR 250 ML | ZMK-CRM-pH-741 II-S
Preparation Notes
Date | Type | Description | Operator