## Preparation Details
Preparation
Hanna Code | ZMK-7.414 pH | Description
Preparation Date | 2025/02/26 | Preparation Hour | 12:30 | Preparation Week | 9/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/28 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/26/2025 12:31:22 PM | 0U | S 01/22 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 |  | 11.40 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-741 I-S | 2025/05/23
2 | 2/26/2025 12:31:33 PM | 1K | S 01/22 | MR117S-II | 7.414 | mg/L | 4.3 | 4.3 |  | 6.78 g | Brigita T |  |  |  | BAL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-741 II-S | 2025/05/23
Preparation Notes
Date | Type | Description | Operator