## Preparation Details
Preparation
Hanna Code | ZMK-7.414 pH | Description
Preparation Date | 2025/03/28 | Preparation Hour | 08:41 | Preparation Week | 13/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/04/27 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 3/28/2025 8:47:07 AM | 0U | S 01/22 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 | Sartorius | 11.25 g | Brigita T |  | Sartorius |  |  |  | ZMK-CRM-pH-741 I-S | 2025/05/23
2 | 3/28/2025 8:48:14 AM | 1K | S 01/22 | MR117S-II | 7.414 | mg/L | 4.3 | 2.48 | Sartorius | 0.00 g | Brigita T |  | Sartorius |  |  |  | ZMK-CRM-pH-741 II-S | 2025/05/23
3 | 3/28/2025 8:51:58 AM | 1A | S 01/22 | MR117S-II | 7.414 | mg/L | 4.3 | 4.3 | Sartorius | 20.70 g | Brigita T |  | Sartorius |  |  |  | ZMK-CRM-pH-741 II-S
Preparation Notes
Date | Type | Description | Operator