## Preparation Details
Preparation
Hanna Code | ZMK-7.414 pH | Description | ZMK-7.414 pH
Preparation Date | 2025/04/24 | Preparation Hour | 11:37 | Preparation Week | 17/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/05/24 | Storage STD | ROOM
Note | . | Operator | Mitica
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 4/24/2025 11:47:26 AM | 0U | S 01/22 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 | . | 10.07 g | Eugenia |  | . |  | BAL114CQC01 | VWR 1000 ml | ZMK-CRM-pH-741 I-S | 2025/05/23
2 | 4/24/2025 11:49:14 AM | 1A | S 01/22 | MR117S-II | 7.414 | mg/L | 4.3 | 4.3 | . | 16.40 g | Eugenia |  | . |  | BAL114CQC01 | VWR 1000 ml | ZMK-CRM-pH-741 II-S | 2025/02/22
Preparation Notes
Date | Type | Description | Operator