## Preparation Details
Preparation
Hanna Code | ZMK 1.678 pH | Description
Preparation Date | 2025/02/03 | Preparation Hour | 08:29 | Preparation Week | 6/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/03/05 | Storage STD | Room
Note |  | Operator | Brigita T
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR118S | 1.678 | 12.61 | 12.61 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 2/3/2025 8:30:56 AM | 0D | 01/22 | MR118S | 1.678 | mg/L | 12.61 | 4.48 |  | 0.00 g | Brigita T | [5 empty] | ZMK-CRM-pH-168-S | 2023/08/06
2 | 2/3/2025 8:31:57 AM | 0M | 01/22 | MR118S | 1.678 | mg/L | 8.13 | 8.13 |  | 16.87 g | Brigita T |  |  |  | BALL114CQC01 | ISO LAB 1000 ml | ZMK-CRM-pH-168-S
Preparation Notes
Date | Type | Description | Operator