## Preparation Details
Preparation
Hanna Code | ZMK 10.01 | Description
Preparation Date | 2025/10/01 | Preparation Hour | 10:57 | Preparation Week | 40/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 60 | STD Exp (Date) | 2025/11/30 | Storage STD | ROOM
Note |  | Operator
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.01 | 2.04 | 2.04 | 0 | 0 % | -
MR111S-II | 10.01 | 2.092 | 2.092 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 10/1/2025 11:05:12 AM | 0V | S 01/24 | MR111S-I | 10.01 | pH | 2.04 | 2.04 |  | 12.38 g |  |  |  |  | 250 ML | ISO 250 ml | ZMK-CRM-pH-1001 I-S
2 | 10/1/2025 11:05:26 AM | 0W | S 01/24 | MR111S-II | 10.01 | pH | 2.092 | 2.092 |  | 14.53 g | [6 empty] | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator