## Preparation Details
Preparation
Hanna Code | ZMK 10.010 pH | Description | 10.010 pH
Preparation Date | 2025/08/12 | Preparation Hour | 12:59 | Preparation Week | 33/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 60 | STD Exp (Date) | 2025/10/11 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.01 | 2.65 | 2.65 | 0 | 0 % | -
MR111S-II | 10.01 | 2.1 | 2.1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 8/5/2025 1:03:01 PM | 0V | S 01/24 | MR111S-I | 10.01 | pH | 2.65 | 2.65 |  | 17.07 g | Brigitta P | [5 empty] | ZMK-CRM-pH-1001 I-S
2 | 8/5/2025 1:03:23 PM | 0W | S 01/24 | MR111S-II | 10.01 | pH | 2.1 | 2.1 |  | 18.72 g | Brigitta P | [5 empty] | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator