## Preparation Details
Preparation
Hanna Code | ZMK 10.014 pH | Description | 10.014
Preparation Date | 2025/07/15 | Preparation Hour | 09:54 | Preparation Week | 29/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/08/14 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR111S-I | 10.014 | 2.64 | 2.64 | 0 | 0 % | -
MR111S-II | 10.014 | 2.092 | 2.092 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/15/2025 9:58:13 AM | 0V | S 01/24 | MR111S-I | 10.014 | mg/L | 2.64 | 2.64 |  | 22.36 g | Brigitta P |  |  |  | BAL114CQC01 | LASSCO 1000ML | ZMK-CRM-pH-1001 I-S
2 | 7/15/2025 9:58:45 AM | 0W | S 01/24 | MR111S-II | 10.014 | mg/L | 2.092 | 2.092 |  | 22.91 g | Brigitta P |  |  |  | BAL114CQC01 | LASSCO 1000ML | ZMK-CRM-pH-1001 II-S
Preparation Notes
Date | Type | Description | Operator