## Preparation Details
Preparation
Hanna Code | ZMK 4.005 pH | Description
Preparation Date | 2025/06/30 | Preparation Hour | 11:50 | Preparation Week | 27/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 42 | STD Exp (Date) | 2025/08/11 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR112S | 4.005 | 10.21 | 10.21 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/30/2025 11:52:51 AM | 0M | 01/24 | MR112S | 4.005 | mg/L | 10.21 | 4.58 |  | 0.00 g | Brigitta P |  |  |  | BAL114 CQC01 | VWR 1000ML | ZMK-CRM-pH-401 S
2 | 6/30/2025 11:53:32 AM | 0N | 01/24 | MR112S | 4.005 | mg/L | 5.63 | 5.63 |  | 3.53 g | Brigitta P |  |  |  | BAL114 CQC01 | VWR 1000ML | ZMK-CRM-pH-401 S
Preparation Notes
Date | Type | Description | Operator