## Preparation Details
Preparation
Hanna Code | ZMK 4.006 | Description | 4.005 mg/L
Preparation Date | 2025/07/29 | Preparation Hour | 12:00 | Preparation Week | 31/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/08/28 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR112S | 4.005 | 10.21 | 10.21 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/29/2025 12:03:37 PM | 0E | S 01/24 | MR112S | 4.005 | pH | 10.21 | 10.21 |  | 4.58 g | Brigitta P |  |  |  |  | ILASSCO 1000ML | ZMK-CRM-pH-401 S
Preparation Notes
Date | Type | Description | Operator