## Preparation Details
Preparation
Hanna Code | ZMK 7.414 | Description
Preparation Date | 2025/06/30 | Preparation Hour | 11:55 | Preparation Week | 27/2025
|  |  |  | STD Matrix | DW | STD Exp (days) | 30 | STD Exp (Date) | 2025/07/30 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/30/2025 11:57:17 AM | 0U | S 01/22 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 |  | 2.99 g | Brigitta P |  |  |  | BAL114 CQC01 | VWR 1000ML | ZMK-CRM-pH-741 I-S | 2025/05/23
2 | 6/30/2025 11:57:30 AM | 0R | 01/24 | MR117S-II | 7.414 | mg/L | 4.3 | 4.3 |  | 3.80 g | Brigitta P |  |  |  | BAL114 CQC01 | VWR 1000ML | ZMK-CRM-pH-741 II-S
Preparation Notes
Date | Type | Description | Operator