## Preparation Details
Preparation
Hanna Code | ZMK 7.414 | Description | 7.414
Preparation Date | 2025/07/15 | Preparation Hour | 09:48 | Preparation Week | 29/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/08/14 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR117S-I | 7.414 | 1.179 | 1.179 | 0 | 0 % | -
MR117S-II | 7.414 | 4.3 | 4.3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/15/2025 9:53:00 AM | 0O | 01/24 | MR117S-I | 7.414 | mg/L | 1.179 | 1.179 |  | 23.82 g | Brigitta P |  |  |  | BAL114CQC01 | LASSCO 1000ML | ZMK-CRM-pH-741 I-S
2 | 7/15/2025 9:53:19 AM | 0R | 01/24 | MR117S-II | 7.414 | mg/L | 4.3 | 3.8 |  | 0.00 g | Brigitta P |  |  |  | BAL114CQC01 | LASSCO 1000ML | ZMK-CRM-pH-741 II-S
3 | 7/15/2025 9:53:38 AM | 0Q | 01/24 | MR117S-II | 7.414 | mg/L | 0.5 | 0.5 |  | 24.50 g | Brigitta P |  |  |  | BAL114CQC01 | LASSCO 1000ML | ZMK-CRM-pH-741 II-S
Preparation Notes
Date | Type | Description | Operator