## Preparation Details
Preparation
Hanna Code | test_code | Description
Preparation Date | 2025/01/15 | Preparation Hour | 15:15 | Preparation Week | 3/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/14 | Storage STD | Room
Note |  | Operator | Vianello
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR102 | 2.5 | 100 | 100 | 0 | 0 % | -
MR09 | 2.5 | 200 | 200 | 0 | 0 % | -
MR03N | 2.5 | 1 | 1 | 0 | 0 % | -
MR06N | 2.5 | 1 | 1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 1/15/2025 3:16:14 PM | 0A | HC20925699 | MR102 | 2.5 | mg/L | 100 | 100 |  | 51.99 mL | Vianello |  |  |  |  | VWR 250 ML | 1198990500 | 2025/09/01
2 | 1/15/2025 3:16:42 PM | 0A | HC31103212 | MR09 | 2.5 | mg/L | 200 | 200 |  | 239.71 mL | Vianello |  |  |  |  | VWR 250 ML | 1198120500 | 2025/12/02
3 | 1/15/2025 3:38:35 PM | 0B | 2186II | MR03N | 2.5 | mg/L | 1 | 1 |  | 44.00 g | Eugenia |  |  |  |  | VWR 250 ML | 186-II | 2026/05/30
4 | 1/15/2025 3:39:22 PM | 0F | 999c | MR06N | 2.5 | mg/L | 1 | 1 |  | 0.81 g | Eugenia |  |  |  |  | VWR 250 ML | 999 | 2035/06/03
Preparation Notes
Date | Type | Description | Operator